## Service Terms & Conditions
This Agreement is a legally binding contract. By submitting a Requisition Form to the University of Ottawa (“uOttawa, We, Us, Our or Ours”), You (“client, You, Your or Yours”) acknowledge and agree to the following terms and conditions.
WARNING: We DO NOT ACCEPT samples with enriched 14C (often used as a tracer). Any contamination of any amount of enriched 14C ("hot") material may cause thousands of dollars in clean-up and other costs. If you submit "hot" samples to this lab, you may be liable.
1. Requisition: You will submit the completed Requisition Form (the “Request”) and the samples to be tested (the “Samples”). We reserve the right to decline a Request. By submitting a Request, You certify that You are legally capable of entering into binding contracts on behalf of Yourself, Your supervisor, and/or Your Company.
2. Ownership: The Samples are not uOttawa’s property and We assume no responsibility for any loss or damage to the Samples. Upon completion of the tests, We will destroy the Samples after six (6) months unless You specifically request in writing upon submitting a Request that the Samples are to be returned to You. You assume all responsibility and cost associated with the return of the Samples. We are not responsible for maintaining an archive of the data and accept no responsibility for lost data.
3. Shipping: You shall be responsible for proper collection, preservation, packaging, and shipment of the sample(s) in accordance with applicable laws and good commercial practice. You must inform us of any hazard relating to samples submitted for analysis.
4. Invoice: We will send You an invoice based on the rates published on our website, as may be amended from time to time plus applicable taxes and describing any other costs associated with the testing. Payment by You is to be made in Canadian Dollars. Pre-payment is required for all orders originating from and funded by countries other than Canada.
5. Results: Upon completion of the tests, We will provide You with the results of the tests by using the email address provided by You. We do not claim any intellectual property in the Samples and claims no interest in the data.
6. Disclaimer: We expressly disclaim all warranties in respect of the tests and the data including all expressed or implied warranties of merchantability and fitness for a particular purpose, including as evidence in any legal proceeding. By testing the Samples and providing the data, uOttawa, its employees, students or other uOttawa representatives are not providing an opinion and declines to be a witness in any legal or other adversarial proceeding. Our liability to You whether arising in contract, tort, negligence, breach of statutory duty or otherwise shall not exceed the price paid for the analysis. You acknowledge and agree that: (i) tests and the data are provided by uOttawa “as is”; (ii) in no event shall We be liable for any direct, indirect, incidental, punitive or consequential damages whatsoever with respect to the tests and the data; (iii) that any reliance upon the tests and/or the data shall be at Your sole risk; (iv) Title and risk of loss with respect to submitted samples shall at all times remain with You prior to acceptance by Us.
7. Confidentiality: "Confidential Information" means any materials, written information, and data marked "Confidential" by You and provided to uOttawa for the purpose of conducting the tests. We will use reasonable efforts to maintain the Confidential Information as confidential to the extent permitted by law. Our obligations do not apply to information in the public domain or independently known or obtained by uOttawa. You acknowledge that uOttawa is subject to the Freedom of Information and Protection of Privacy Act (Ontario) and as such records in its custody or control, including the Confidential Information, may be subject to access to information requests.
8. Indemnification: You shall indemnify, hold harmless and defend uOttawa, and their respective officers, directors, employees, students and agents (the "indemnified parties") against any and all claims, demands, actions, liability and expenses ("claims") including claims, allegedly resulting in whole or in part from the negligence of the indemnified parties or from acts or omissions for which the indemnified parties otherwise would be liable, related to or arising from the tests, the Samples, the data or Your use of the data. You shall be responsible for any damage to uOttawa’s facilities and/or personnel caused by the Samples.
9. Advertising: You shall not use the name of the University of Ottawa, its employees or students or of the Faculty of Sciences or the laboratory in any publicity, advertising, or news release without the prior written approval of an authorized representative of uOttawa. You will not under any circumstances advertise or otherwise state or imply that We have tested or approved or endorsed any Sample, product or process.
10. Pricing: The price for the analysis shall be as agreed between You and Us via quotation and as posted on Our website at the time of submission. We shall submit an invoice to You after the completion of all requested Services if the payment funding source originates in Canada. Pre-payment is required for all orders originating from and funded by countries other than Canada.
11. Terms: Unless otherwise agreed, payment terms are 30 days from receipt of invoice after which We may apply an interest charge of 1.5% per month to the accrued outstanding balance (including principle, surcharges, and any other fees). You have the right to contact the University of Ottawa’s Credit Department to dispute invoices, within 15 business days of the date of the first invoice containing the disputed charge. After 15 business days from date of first invoice, We have sole discretion to adjust any disputed charges. In the event collection and/or legal action is initiated and successfully prosecuted by Us to collect any amount(s) due and owing, You agree to pay all of Our collection expenses, including but not limited to reasonable attorneys’ fees and costs.
12. Suspension of Work: We reserve the right to suspend work and/or withhold data delivery if You fail to make timely payment of Your invoices. We will not be held responsible for any damages incurred by You caused by Our work suspension or withholding of data precipitated by Your failure to promptly pay invoices.
13. Urgent Orders: Requests for urgent or “rush” analysis (i.e. moved to the front of the queue) may be considered and if accepted, will be subject to a surcharge. Rush or other expedited analyses will be handled as such and will be reported as quickly as time permits depending on work load, type of analysis requested and events outside of our control.
14. Unforeseen Events/Force Majeure: We will not be liable or responsible for any failure to perform, or delay in performance of, any of our obligations under a Contract that is caused by events outside our reasonable control, commonly known as “force majeure”.
15. Surcharges: We reserve the right to adjust the “rush” surcharge as necessary in special cases. The surcharge is generally: (i) double the regular rate for 30 or more samples; (ii) triple the regular rate for less than 30 samples.
16. Discounts: A discount of $5 per sample is applied when You or Your representative performs the preparation of samples before analysis in the following cases:
· Weighing of samples into tin capsules.
· Doing the weighing and the adding of acid plus “flush and fill” procedures for carbonate analysis.
· Doing the pipetting and “flush and fill” procedures for water gasbench analysis.
· Filtering fresh waters for LGR (less than 3PSU) using Your own supplies.
· A discount of $3 per sample is applied when You or Your representative pipettes fresh waters for LGR (less than 3PSU) using Your own supplies.
17. Duty and Customs: Duty charges will be added to the invoice. A Customs Declaration Invoice must be sent with samples from outside Canada. Samples have no commercial value. Shipments arriving with fees due (other than duty) will be returned.
18. Entire Agreement: This Agreement constitutes the Entire Agreement between You and Us. It supersedes all other written or verbal communications between You and Us. It can only be amended in writing by mutual agreement.
19. Jurisdiction: This Agreement shall be governed by and interpreted in accordance with the laws of the Province of Ontario that are in force. You expressly accepted jurisdiction of the Ontario Courts.

## Final Report
Customer Information |  | Invoice Information
First Name: | Charlotte | PO # or Account Code: | 103-2022-10-28
Last Name: | Ward | First Name: | Tyler |  | Completed: March 28, 2023
Initial: | A | Last Name: | Tunney |  | Cost: 16 samples x $20 = $320
Address (Line 1): | University of Guelph | Initial: | D
Address (Line 2): | 50 Stone Road E | Address (Line 1): | Fisheries and Oceans Canada |  | Work done by: Erin
Address (Line 3): | 0 | Address (Line 2): | Gulf Fisheries Centre |  | Temperature of equilibration: 24.0°C
City: | Guelph | Address (Line 3): | 343 Avenue de l'Université, PO Box 5030 |  | Amount of water used: 0.6 mL
State or Province: | Ontario | City: | Moncton |  | Saline H2O equilibrated: 2H = 24hrs 18O = 5 days
Postal Code: | N1G 1W2 | State or Province: | New Brunswick
Country: | Canada | Postal Code: | E1C 9B6
Email: | cward@uoguelph.ca | Country: | Canada |  | See tab below for Methodology.
Phone Number: | 705-279-9273 | Email: | Tyler.Tunney@dfo-mpo.gc.ca
Submission Date: | 2023-01-26 | Phone Number: | 0
Project Title: | wt-d-gb - Algonquin Cyprinid Study
Isotope Ratios Req: | 2H | Optional Project | Water samples for 2H analysis - gasbench with 2 per mil precision
Numeric Media Code: | 7 | Comment: | 0
Supervisor: | Dr. Tyler Tunney |  | 0 |  | QCD = dup = quality control duplicate
0
OurLabID | Sample ID | Delta 2H (VSMOW) | Delta 2H Comment | Delta 18O (VSMOW) | Delta 18O Comment | Comment | VeizerSIL No.
W-53446 | EF1-22 | -66.5585 |  |  |  | 45 mL | B2223-350-001
W-53447 | EF1-A22 | -61.9418 |  |  |  | 45 mL | B2223-350-002
W-53448 | EF2-22 | -68.4762 |  |  |  | 45 mL | B2223-350-003
W-53449 | EF2-A22 | -62.137 |  |  |  | 45 mL | B2223-350-004
W-53450 | EF3-22 | -67.7438 |  |  |  | 45 mL | B2223-350-005
W-53451 | EF3-A22 | -61.5375 |  |  |  | 45 mL | B2223-350-006
W-53452 | EF4-A22 | -60.205 |  |  |  | 45 mL | B2223-350-007
W-53453 | EF5-22 | -66.8411 |  |  |  | 45 mL | B2223-350-008
W-53454 | EF5-A22 | -61.6057 |  |  |  | 45 mL | B2223-350-009
W-53455 | FU-22 | -69.1592 |  |  |  | 45 mL | B2223-350-010
W-53456 | FU-22 QCD | -69.2305 |  |  |  | 45 mL | B2223-350-011
W-53457 | FU-A22 | -57.1835 |  |  |  | 45 mL | B2223-350-012
W-53458 | WU-A22 | -61.1485 |  |  |  | 45 mL | B2223-350-013
W-53459 | CC25-22 | -67.5713 |  |  |  | 45 mL | B2223-350-014
W-53460 | CC5-22 | -67.8752 |  |  |  | 45 mL | B2223-350-015
W-53461 | CC18-22 | -69.7423 |  |  |  | 45 mL | B2223-350-016
W-53462 | CC23-22 | -68.9688 |  |  |  | 45 mL | B2223-350-017
Blind Standard: W-29
delta 18O = |  | Expected value to date: -7.3
delta 2H = | -85.2, n=4, st.dev.=0.1 | Expected value to date: -85.0
Laboratoire d'isotopes stables Ján Veizer (anciennement G.G. Hatch)
Ján Veizer Stable Isotope Laboratory (formerly G.G. Hatch)
Reminder: samples are retained for 6 months, then destroyed. Please have a look at your data in a timely manner.

## project results
OurLabID | Sample ID | Delta 2H | Delta 2H Comment | Delta 18O | Delta 18O Comment | Weight (ug) | %C for applicable media | %N for applicable media | %S for applicable media | pH (for media 1 or 43) | Account No | State Code | Country Code | Latitude | Longitude | LatLong Accuracy | Collection Date/Time (Start) | Collection Date/Time (end) | Elevation | Meters or Feet | Salinity (ppm for 1 or 43) | Comment

## Methodology
Methodology
This headspace technique is used primarily for waters with greater than 3PSU (salinity), but also for waters and other liquids that contain alcohol, oil or other contaminants. Hydrogen and oxygen must be run separately with this method, although a single aliquot is used.
H isotopes of water are determined on a Finnigan MAT Delta plus XP + Gasbench. A precise amount of water is pipetted into Exetainer vials; 0.2 mL (fresh + contaminated) or 0.6 mL (saline). A platinum catalyst pellet on a stick is added to each Exetainer; the pellet must be placed above the water. The vials are flushed and filled with a gas mixture of 2% H2 in helium off-line using a set-up designed by Paul (see photo). The flushed vials are left at room temperature for either a minimum of 1.5 hours for fresh water or a minimum of 24 hours for saline water. The H2 gas is analysed automatically in continuous flow. The results are normalized to VSMOW using three calibrated internal standards spanning most of the natural range. A fourth calibrated standard is run as an unknown for long-term monitoring and stats. The routine precision (2 sigma) of the analysis is +/-2.0 permil.
O isotopes of water are determined on a Finnigan MAT Delta plus XP + Gasbench. A precise amount of water is pipetted into Exetainer vials; 0.2 mL (fresh + contaminated) or 0.6 mL (saline). No catalyst is required. The vials are flushed and filled with a gas mixture of 2% CO2 in helium off-line using a set-up designed by Paul (see photo). The flushed vials are left at room temperature for either a minimum of 24 hours for fresh water or a minimum of 5 days for saline water. The CO2 gas is analysed automatically in continuous flow. The results are normalized to VSMOW using three calibrated internal standards spanning most of the natural range. A fourth calibrated standard is run as an unknown for long-term monitoring and stats. The routine precision (2 sigma) of the analysis is +/-0.15 permil.
References:
The equilibration method from Thermo Finnigan Application Flash reports 30 and 32.
See also chapter 5 of operating manual of GasBench II Revison A 111 8342 from Thermo Finnigan.
For a good review on Stable Isotope analysis of water please see Handbook of Stable isotope Analytical Techniques, Vol 1, P.A. deGroot editor, Elsevier, 2004, Chapter 1 p 1-37.
Friedman, I., and O'Neil, J.R., (1977) Compilation of stable isotope fractionation factors of geochemical interest. In: Data of Geochemistry. U.S. Geol. Surv., Prof. Pap., 440-KK, 6th ed.
For the salt effect please see:
Horita, J. (1989) Analytical aspect of stable isotopes in brines, Chemical Geology (Isotope Geoscience Section), 79, 1989, pp107-112. doi:10.1016/0168-9622(89)90013-4

## Copy of Submission Form
Send Excel file to: JanVeizerLab@uottawa.ca
Customer Information |  |  | Invoice Information | [5 empty] | LIMS for Light Stable Isotopes
First Name: | Charlotte |  | PO # or Account Code: | 103-2022-10-28 |  |  |  |  | Version 9.201 Sept. 21, 2016
Last Name: | Ward |  | First Name: | Tyler |  |  |  |  | T. B. Coplen
Middle Initial: | A |  | Last Name: | Tunney |  |  |  |  | U.S. Geological Survey
Institution (Line 1): | University of Guelph |  | Middle Initial: | D |  |  |  |  | 431 National Center
Address (Line 2): | 50 Stone Road E |  | Institution (Line 1): | Fisheries and Oceans Canada |  | Ship samples to: |  |  | Reston, VA 20192
Address (Line 3): |  |  | Address (Line 2): | Gulf Fisheries Centre |  | Ján Veizer Stable Isotope Laboratory |  |  | Email: tbcoplen@usgs.gov
City: | Guelph |  | Address (Line 3): | 343 Avenue de l'Université, PO Box 5030 |  | Attn: P. Middlestead
State or Province: | Ontario |  | City: | Moncton |  | 25 Templeton Street |  |  | Instructions:
Postal Code: | N1G 1W2 |  | State or Province: | New Brunswick |  | Advanced Research Complex |  |  | Information in GREEN is required (mandatory).
Country: | Canada |  | Postal Code: | E1C 9B6 |  | University of Ottawa |  |  | Caution: "Sample ID" must be unique; id duplicates.
Email: | cward@uoguelph.ca |  | Country: | Canada |  | Ottawa, Ontario, Canada K1N 6N5 |  |  | Information in YELLOW is required, if appropriate .
Phone Number: | 705-279-9273 |  | Email: | Tyler.Tunney@dfo-mpo.gc.ca |  | Phone: 613-562-5800 x6836
Submission Date: | 2023-01-26 |  | Phone Number:
Project Title: | wt-d-gb - Algonquin Cyprinid Study
Isotope Ratios Req: | 2H |  | Optional Project | Water samples for 2H analysis - gasbench with 2 per mil precision
Numeric Media Code: | 7 |  | Comment:
Supervisor: | Dr. Tyler Tunney
-- Type "X" to answer one of the statements (mandatory):
x | I have read and understand the terms and conditions listed in the 1st tab below and wish to submit Samples for analysis.
I do NOT accept the terms of this agreement.
You MUST indicate any halogens, preservatives, or other nasties, especially if there is a health hazard wrt your sample material.
Sample Information
Counter | Sample ID | Weight (mg) | %C for applicable media | %N for applicable media | %S for applicable media | pH or %H (specify below) | Salinity or %O (specify) | Comment | VeizerSIL Number
Example 1 | GNIP 43329 | 0.123 | 40 | 10 | 0.01 |  | Salinity in PSU | My other info | (Lab use only)
1 | EF1-22 | [6 empty] | 45 mL | B2223-350-001
2 | EF1-A22 | [6 empty] | 45 mL | B2223-350-002
3 | EF2-22 | [6 empty] | 45 mL | B2223-350-003
4 | EF2-A22 | [6 empty] | 45 mL | B2223-350-004
5 | EF3-22 | [6 empty] | 45 mL | B2223-350-005
6 | EF3-A22 | [6 empty] | 45 mL | B2223-350-006
7 | EF4-A22 | [6 empty] | 45 mL | B2223-350-007
8 | EF5-22 | [6 empty] | 45 mL | B2223-350-008
9 | EF5-A22 | [6 empty] | 45 mL | B2223-350-009
10 | FU-22 | [6 empty] | 45 mL | B2223-350-010
11 | FU-22 QCD | [6 empty] | 45 mL | B2223-350-011
12 | FU-A22 | [6 empty] | 45 mL | B2223-350-012
13 | WU-A22 | [6 empty] | 45 mL | B2223-350-013
14 | CC25-22 | [6 empty] | 45 mL | B2223-350-014
15 | CC5-22 | [6 empty] | 45 mL | B2223-350-015
16 | CC18-22 | [6 empty] | 45 mL | B2223-350-016
17 | CC23-22 | [6 empty] | 45 mL | B2223-350-017
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
37
38
39
40
41
42
43
44
45
46
47
48
49
50
51
52
53
54
55
56
57
58
59
60
61
62
63
64
65
66
67
68
69
70
71
72
73
74
75
76
77
78
79
80
81
82
83
84
85
86
87
88
89
90
91
92
93
94
95
96
97
98
99
100
101
102
103
104
105
106
107
108
109
110
111
112
113
114
115
116
117
118
119
120
121
122
123
124
125
126
127
128
129
130
131
132
133
134
135
136
137
138
139
140
141
142
143
144
145
146
147
148
149
150
Continue numbering in column A if there
are more than 150 samples.
Each sample must have a number.
Laboratoire d'isotopes stables G.G. Hatch
G.G. Hatch Stable Isotope Laboratory
Laboratoire d'isotopes stables G.G. Hatch
G.G. Hatch Stable Isotope Laboratory
Laboratoire d'isotopes stables G.G. Hatch
G.G. Hatch Stable Isotope Laboratory
Laboratoire d'isotopes stables G.G. Hatch
G.G. Hatch Stable Isotope Laboratory
Laboratoire d'isotopes stables G.G. Hatch
G.G. Hatch Stable Isotope Laboratory
Laboratoire d'isotopes stables Ján Veizer (anciennement G.G. Hatch)
Ján Veizer Stable Isotope Laboratory (formerly G.G. Hatch)
Note on E3: uOttawa Employee: If paying by VISA, just write "VISA" in this box. Patricia will contact you about payment.
Note on B18: uOttawa Employee: See tab at bottom of file. Only 1 media code per submission file.