## Service Terms & Conditions
This Agreement is a legally binding contract. By submitting a Requisition Form to the University of Ottawa (“uOttawa, We, Us, Our or Ours”), You (“client, You, Your or Yours”) acknowledge and agree to the following terms and conditions.
WARNING: We DO NOT ACCEPT samples with enriched 14C (often used as a tracer). Any contamination of any amount of enriched 14C ("hot") material may cause thousands of dollars in clean-up and other costs. If you submit "hot" samples to this lab, you may be liable.
1. Requisition: You will submit the completed Requisition Form (the “Request”) and the samples to be tested (the “Samples”). We reserve the right to decline a Request. By submitting a Request, You certify that You are legally capable of entering into binding contracts on behalf of Yourself, Your supervisor, and/or Your Company.
2. Ownership: The Samples are not uOttawa’s property and We assume no responsibility for any loss or damage to the Samples. Upon completion of the tests, We will destroy the Samples after six (6) months unless You specifically request in writing upon submitting a Request that the Samples are to be returned to You. You assume all responsibility and cost associated with the return of the Samples. We are not responsible for maintaining an archive of the data and accept no responsibility for lost data.
3. Shipping: You shall be responsible for proper collection, preservation, packaging, and shipment of the sample(s) in accordance with applicable laws and good commercial practice. You must inform us of any hazard relating to samples submitted for analysis.
4. Invoice: We will send You an invoice based on the rates published on our website, as may be amended from time to time plus applicable taxes and describing any other costs associated with the testing. Payment by You is to be made in Canadian Dollars. Pre-payment is required for all orders originating from and funded by countries other than Canada.
5. Results: Upon completion of the tests, We will provide You with the results of the tests by using the email address provided by You. We do not claim any intellectual property in the Samples and claims no interest in the data.
6. Disclaimer: We expressly disclaim all warranties in respect of the tests and the data including all expressed or implied warranties of merchantability and fitness for a particular purpose, including as evidence in any legal proceeding. By testing the Samples and providing the data, uOttawa, its employees, students or other uOttawa representatives are not providing an opinion and declines to be a witness in any legal or other adversarial proceeding. Our liability to You whether arising in contract, tort, negligence, breach of statutory duty or otherwise shall not exceed the price paid for the analysis. You acknowledge and agree that: (i) tests and the data are provided by uOttawa “as is”; (ii) in no event shall We be liable for any direct, indirect, incidental, punitive or consequential damages whatsoever with respect to the tests and the data; (iii) that any reliance upon the tests and/or the data shall be at Your sole risk; (iv) Title and risk of loss with respect to submitted samples shall at all times remain with You prior to acceptance by Us.
7. Confidentiality: "Confidential Information" means any materials, written information, and data marked "Confidential" by You and provided to uOttawa for the purpose of conducting the tests. We will use reasonable efforts to maintain the Confidential Information as confidential to the extent permitted by law. Our obligations do not apply to information in the public domain or independently known or obtained by uOttawa. You acknowledge that uOttawa is subject to the Freedom of Information and Protection of Privacy Act (Ontario) and as such records in its custody or control, including the Confidential Information, may be subject to access to information requests.
8. Indemnification: You shall indemnify, hold harmless and defend uOttawa, and their respective officers, directors, employees, students and agents (the "indemnified parties") against any and all claims, demands, actions, liability and expenses ("claims") including claims, allegedly resulting in whole or in part from the negligence of the indemnified parties or from acts or omissions for which the indemnified parties otherwise would be liable, related to or arising from the tests, the Samples, the data or Your use of the data. You shall be responsible for any damage to uOttawa’s facilities and/or personnel caused by the Samples.
9. Advertising: You shall not use the name of the University of Ottawa, its employees or students or of the Faculty of Sciences or the laboratory in any publicity, advertising, or news release without the prior written approval of an authorized representative of uOttawa. You will not under any circumstances advertise or otherwise state or imply that We have tested or approved or endorsed any Sample, product or process.
10. Pricing: The price for the analysis shall be as agreed between You and Us via quotation and as posted on Our website at the time of submission. We shall submit an invoice to You after the completion of all requested Services if the payment funding source originates in Canada. Pre-payment is required for all orders originating from and funded by countries other than Canada.
11. Terms: Unless otherwise agreed, payment terms are 30 days from receipt of invoice after which We may apply an interest charge of 1.5% per month to the accrued outstanding balance (including principle, surcharges, and any other fees). You have the right to contact the University of Ottawa’s Credit Department to dispute invoices, within 15 business days of the date of the first invoice containing the disputed charge. After 15 business days from date of first invoice, We have sole discretion to adjust any disputed charges. In the event collection and/or legal action is initiated and successfully prosecuted by Us to collect any amount(s) due and owing, You agree to pay all of Our collection expenses, including but not limited to reasonable attorneys’ fees and costs.
12. Suspension of Work: We reserve the right to suspend work and/or withhold data delivery if You fail to make timely payment of Your invoices. We will not be held responsible for any damages incurred by You caused by Our work suspension or withholding of data precipitated by Your failure to promptly pay invoices.
13. Urgent Orders: Requests for urgent or “rush” analysis (i.e. moved to the front of the queue) may be considered and if accepted, will be subject to a surcharge. Rush or other expedited analyses will be handled as such and will be reported as quickly as time permits depending on work load, type of analysis requested and events outside of our control.
14. Unforeseen Events/Force Majeure: We will not be liable or responsible for any failure to perform, or delay in performance of, any of our obligations under a Contract that is caused by events outside our reasonable control, commonly known as “force majeure”.
15. Surcharges: We reserve the right to adjust the “rush” surcharge as necessary in special cases. The surcharge is generally: (i) double the regular rate for 30 or more samples; (ii) triple the regular rate for less than 30 samples.
16. Discounts: A discount of $5 per sample is applied when You or Your representative performs the preparation of samples before analysis in the following cases:
· Weighing of samples into tin capsules.
· Doing the weighing and the adding of acid plus “flush and fill” procedures for carbonate analysis.
· Doing the pipetting and “flush and fill” procedures for water gasbench analysis.
· Filtering fresh waters for LGR (less than 3PSU) using Your own supplies.
· A discount of $3 per sample is applied when You or Your representative pipettes fresh waters for LGR (less than 3PSU) using Your own supplies.
17. Duty and Customs: Duty charges will be added to the invoice. A Customs Declaration Invoice must be sent with samples from outside Canada. Samples have no commercial value. Shipments arriving with fees due (other than duty) will be returned.
18. Entire Agreement: This Agreement constitutes the Entire Agreement between You and Us. It supersedes all other written or verbal communications between You and Us. It can only be amended in writing by mutual agreement.
19. Jurisdiction: This Agreement shall be governed by and interpreted in accordance with the laws of the Province of Ontario that are in force. You expressly accepted jurisdiction of the Ontario Courts.

## Final Report
Customer Information |  | Invoice Information
First Name: | Charlotte | PO # or Acount: | 103-2022-10-28
Last Name: | Ward | First Name: | Tyler |  |  | Completed: January 29th, 2024
Initial: | A | Last Name: | Tunney |  |  | Cost: 96 samples x 10$ = 960$
Address (Line 1): | University of Guelph | Initial: | D
Address (Line 2): | 50 Stone Road E | Address (Line 1): | Fisheries and Oceans Canada |  |  | Weighing done by: pre-weighed
Address (Line 3): | 0 | Address (Line 2): | Gulf Fisheries Centre
City: | Guelph | Address (Line 3): | 343 Avenue de l'Université, PO Box 5030 |  |  | Dilution for C = 50% (values are already corrected)
State or Province: | Ontario | City: | Moncton
Postal Code: | N1G 1W2 | State or Province: | New Brunswick |  |  | See tab below for Methodology
Country: | Canada | Postal Code: | E1C 9B6 |  |  | including filter information.
Email: | cward@uoguelph.ca | Country: | Canada
Phone Number: | 705-279-9273 | Email: | Tyler.Tunney@dfo-mpo.gc.ca
Submission Date: | 2023-11-14 | Phone Number: | 0 |  |  |  | QCD = Quality Control Duplicate = dup
Project Title: | om-cn-4 - Algonquin Cyprinid Study
Isotope Ratios Req: | 13C and 15N | Optional Project | All samples were weighed according to estimated %N content in each tissue type based on previous studies on similar organisms
Numeric Media Code: | 23 | Comment: | 0
Supervisor: | Dr. Tyler Tunney |  | 0
0
OurLabID | Sample ID | Weight (mg) | d13Cvpdb | %wt C | d15Nair | %wt N | Atomic C:N | JVSIL Comment | Submitter's Comment | JVSIL No.
C-175682 | LK3-M23-YP-11-M | 0.8 | -30.05 | 43.9 | 6.75 | 13.53 | 3.7838 |  | A1 | B2324-431-001
C-175683 | LK7-M23-BNM-3-M | 0.8 | -25.22 | 47.7 | 5.6 | 13.92 | 3.9962 |  | A2 | B2324-431-002
C-175684 | LK7-M23-BNM-3-L | 0.8 | -25.81 | 42.5 | 5.27 | 9.32 | 5.3179 |  | A3 | B2324-431-003
C-175685 | LK1-M23-GS-101-M | 0.8 | -29.01 | 58.9 | 6.8 | 18 | 3.816 |  | A4 | B2324-431-004
C-175686 | LK8-M23-CC-1-M | 0.8 | -26.85 | 42.3 | 4.85 | 12.54 | 3.9338 |  | A5 | B2324-431-005
C-175687 | LK8-M23-CC-1-L | 0.8 | -27.15 | 42.1 | 4.71 | 9.62 | 5.1036 |  | A6 | B2324-431-006
C-175688 | LK7-M23-BNM-4-M | 0.8 | -27.14 | 41.7 | 5.51 | 12.37 | 3.9313 |  | A7 | B2324-431-007
C-175689 | LK7-M23-BNM-2-M | 0.8 | -27.37 | 40.3 | 6.22 | 12.2 | 3.8522 |  | A8 | B2324-431-008
C-175690 | LK7-M23-GS-1-M | 0.8 | -30.16 | 43.2 | 5.73 | 13.49 | 3.7345 |  | A9 | B2324-431-009
C-175691 | LK7-M23-GS-1-L | 0.8 | -31.58 | 42.7 | 5.39 | 10.05 | 4.9548 |  | A10 | B2324-431-010
C-175692 | LK7-M23-YP-1-M | 0.8 | -28.98 | 64.8 | 6.2 | 20.2 | 3.741 |  | A11 | B2324-431-011
C-175693 | LK3-M23-GS-6-M | 0.8 | -28.89 | 46.1 | 6.31 | 14.34 | 3.749 |  | A12 | B2324-431-012
C-175694 | LK3-M23-GS-6-L | 0.8 | -29.29 | 34.4 | 5.1 | 8.25 | 4.8626 |  | B1 | B2324-431-013
C-175695 | LK7-M23-YP-2-M | 0.8 | -26.94 | 37 | 6.2 | 11.42 | 3.7783 |  | B2 | B2324-431-014
C-175696 | LK7-M23-YP-2-L | 0.8 | -28.66 | 44.6 | 6.31 | 10.74 | 4.8428 |  | B3 | B2324-431-015
C-175697 | LK-M23-CC-100-M | 0.8 | -27.22 | 57.4 | 7.48 | 17.1 | 3.9145 |  | B4 | B2324-431-016
C-175698 | LK-M23-CC-100-L | 0.8 | -29.77 | 50.6 | 6.74 | 8.42 | 7.0082 |  | B5 | B2324-431-017
C-175699 | LK-M23-CS-101-M | 0.8 | -28.07 | 42.2 | 5.86 | 12.93 | 3.8061 |  | B6 | B2324-431-018
C-175700 | LK-M23-CS-101-L | 0.8 | -30.56 | 40.9 | 4.85 | 6.01 | 7.9362 |  | B7 | B2324-431-019
C-175701 | LK8-M23-BNM-11-M | 0.8 | -27.99 | 46.8 | 4.52 | 13.79 | 3.9577 |  | B8 | B2324-431-020
C-175702 | LK8-M23-BNM-11-L | 0.8 | -27.03 | 46.4 | 4.58 | 10.05 | 5.3842 |  | B9 | B2324-431-021
C-175703 | LK8-M23-BNM-10-M | 0.8 | -26.15 | 37.4 | 5.62 | 11.47 | 3.8025 |  | B10 | B2324-431-022
C-175704 | LK-M23-CS-102-M | 0.8 | -26.91 | 41.7 | 5.52 | 12.71 | 3.8261 |  | B11 | B2324-431-023
C-175705 | LK-M23-CS-102-L | 0.8 | -29.37 | 54.9 | 4.97 | 9.28 | 6.8991 |  | B12 | B2324-431-024
C-175706 | LK3-M23-GS-5-M | 0.8 | -28.45 | 40 | 6.47 | 12.58 | 3.708 |  | C1 | B2324-431-025
C-175707 | LK3-M23-GS-5-L | 0.8 | -30.27 | 44.5 | 4.81 | 10.39 | 4.9947 |  | C2 | B2324-431-026
C-175708 | LK-M23-GS-202-M | 0.8 | -29.56 | 45.3 | 5.12 | 13.79 | 3.8309 |  | C3 | B2324-431-027
C-175709 | LK-M23-GS-202-L | 0.8 | -30.93 | 43 | 4.78 | 9.79 | 5.1221 |  | C4 | B2324-431-028
C-175710 | FN-M23-GS-8-M | 0.8 | -29.89 | 49.6 | 6.16 | 15.1 | 3.8306 |  | C5 | B2324-431-029
C-175711 | FN-M23-GS-8-L | 0.8 | -31.13 | 52.6 | 5.28 | 11.3 | 5.4284 |  | C6 | B2324-431-030
C-175712 | FN-M23-GS-3-M | 0.8 | -28.75 | 44.5 | 6.36 | 13.53 | 3.8356 |  | C7 | B2324-431-031
C-175713 | FN-M23-GS-3-L | 0.8 | -30.18 | 49.3 | 6 | 11.21 | 5.1287 |  | C8 | B2324-431-032
C-175714 | FN-M23-GS-5-M | 0.8 | -29.85 | 48.5 | 7.44 | 14.86 | 3.8062 |  | C9 | B2324-431-033
C-175715 | FN-M23-GS-6-M | 0.8 | -30.79 | 35.3 | 5.41 | 10.87 | 3.7871 |  | C10 | B2324-431-034
C-175716 | FN-M23-GS-1-M | 0.8 | -31.49 | 50.1 | 7.6 | 15.6 | 3.7452 |  | C11 | B2324-431-035
C-175717 | FN-M23-GS-1-L | 0.8 | -31.21 | 42.4 | 5.92 | 10.57 | 4.678 |  | C12 | B2324-431-036
C-175718 | LK10-M23-BNM-7-M | 0.8 | -28.41 | 49.4 | 5.79 | 15 | 3.8406 |  | D1 | B2324-431-037
C-175719 | LK10-M23-BNM-7-L | 0.8 | -29.28 | 30.9 | 6.09 | 7.86 | 4.5846 |  | D2 | B2324-431-038
C-175720 | FN-M23-GS-100-M | 0.8 | -31.93 | 46.5 | 5.36 | 14.47 | 3.7476 |  | D3 | B2324-431-039
C-175721 | FN-M23-GS-100-L | 0.8 | -32.5 | 50.8 | 4.59 | 12.8 | 4.6283 |  | D4 | B2324-431-040
C-175722 | FN-M23-GS-7-M | 0.8 | -31.1 | 56.2 | 7.61 | 17 | 3.8553 |  | D5 | B2324-431-041
C-175723 | FN-M23-GS-7-L | 0.8 | -31.54 | 38 | 6.26 | 8.93 | 4.9625 |  | D6 | B2324-431-042
C-175724 | LK3-M23-YP-10-M | 0.8 | -27.33 | 49.1 | 6.07 | 14.65 | 3.9085 |  | D7 | B2324-431-043
C-175725 | LK3-M23-YP-10-L | 0.8 | -29.41 | 39.4 | 6.89 | 9.79 | 4.6933 |  | D8 | B2324-431-044
C-175726 | FN-M23-GS-101-M | 0.8 | -29.54 | 44.1 | 6.33 | 13.74 | 3.743 |  | D9 | B2324-431-045
C-175727 | FN-M23-GS-101-L | 0.8 | -31 | 69.2 | 5.32 | 17.1 | 4.7193 |  | D10 | B2324-431-046
C-175728 | FN-M23-GS-11-M | 0.8 | -29.11 | 23.8 | 5.79 | 7.09 | 3.9147 |  | D11 | B2324-431-047
C-175729 | FN-M23-GS-11-L | 0.8 | -31.42 | 35.8 | 5.23 | 7.52 | 5.5518 |  | D12 | B2324-431-048
C-175730 | FN-M23-CS-1-M | 0.8 | -30.12 | 48.3 | 4.52 | 14.34 | 3.9279 |  | E1 | B2324-431-049
C-175731 | LK2-M23-CC-6-M | 0.8 | -28.86 | 38 | 6.21 | 11.68 | 3.7941 |  | E2 | B2324-431-050
C-175732 | FN-M23-CC-1-M | 0.8 | -27.4 | 42.8 | 5.76 | 13.27 | 3.7613 |  | E3 | B2324-431-051
C-175733 | FN-M23-CC-1-L | 0.8 | -28.52 | 54.1 | 4.84 | 11.3 | 5.5832 |  | E4 | B2324-431-052
C-175734 | LK10-M23-YP-5-M | 0.8 | -27.28 | 44 | 5.47 | 13.83 | 3.7102 |  | E5 | B2324-431-053
C-175735 | LK10-M23-YP-5-L | 0.8 | -29.27 | 32.6 | 5.5 | 8.12 | 4.682 |  | E6 | B2324-431-054
C-175736 | LK3-M23-YP-8-M | 0.8 | -26.88 | 45.3 | 5.65 | 14.3 | 3.6943 |  | E7 | B2324-431-055
C-175737 | LK3-M23-YP-8-L | 0.8 | -27.9 | 60.2 | 6.49 | 15.1 | 4.6493 |  | E8 | B2324-431-056
C-175738 | LK3-M23-GS-2-M | 0.8 | -28.89 | 49.4 | 6.05 | 15.2 | 3.7901 |  | E9 | B2324-431-057
C-175739 | LK3-M23-GS-2-L | 0.8 | -29.89 | 36.2 | 5.41 | 7.6 | 5.5547 |  | E10 | B2324-431-058
C-175740 | LK-M23-GS-201-M | 0.8 | -28.84 | 38.6 | 5.77 | 12.37 | 3.639 |  | E11 | B2324-431-059
C-175741 | LK-M23-GS-201-L | 0.8 | -30.55 | 42.5 | 4.65 | 10.65 | 4.6538 |  | E12 | B2324-431-060
C-175742 | LK9-M23-CS-3-M | 0.8 | -30.6 | 38.2 | 5.04 | 11.34 | 3.9284 |  | F1 | B2324-431-061
C-175743 | LK9-M23-CS-3-L | 0.8 | -32.11 | 48.5 | 4.4 | 6.31 | 8.9635 |  | F2 | B2324-431-062
C-175744 | LK-M23-GS-200-M | 0.8 | -28.46 | 43.9 | 6.31 | 13.57 | 3.7727 |  | F3 | B2324-431-063
C-175745 | LK-M23-GS-200-L | 0.8 | -29.78 | 38 | 4.91 | 8.5 | 5.2135 |  | F4 | B2324-431-064
C-175746 | CR5-M23-CS-12-M | 0.8 | -34.03 | 53.2 | 5.52 | 15.2 | 4.0816 |  | F5 | B2324-431-065
C-175747 | CR5-M23-CS-12-L | 0.8 | -34.49 | 55.4 | 4.97 | 9.36 | 6.9024 |  | F6 | B2324-431-066
C-175748 | LK10-M23-YP-8-M | 0.8 | -26.59 | 28.5 | 5.31 | 8.8 | 3.7768 |  | F7 | B2324-431-067
C-175749 | LK10-M23-YP-8-L | 0.8 | -28.45 | 39.9 | 6.22 | 9.19 | 5.0632 |  | F8 | B2324-431-068
C-175750 | LK2-M23-CC-5-M | 0.8 | -27.09 | 44 | 6.23 | 13.4 | 3.8293 |  | F9 | B2324-431-069
C-175751 | LK2-M23-CC-5-L | 0.8 | -29.01 | 35.6 | 5.4 | 7.43 | 5.5876 |  | F10 | B2324-431-070
C-175752 | LK10-M23-YP-7-M | 0.8 | -27.17 | 42.5 | 5.54 | 13.01 | 3.8096 |  | F11 | B2324-431-071
C-175753 | LK1-M23-CC-100-M | 0.8 | -28.49 | 40.7 | 5.85 | 12.03 | 3.9454 |  | F12 | B2324-431-072
C-175754 | LK1-M23-CC-100-L | 0.8 | -30.65 | 50.5 | 5.31 | 8.59 | 6.8559 |  | G1 | B2324-431-073
C-175755 | LK1-M23-BNM-1-M | 0.8 | -29.11 | 46.3 | 5.95 | 14.09 | 3.8321 |  | G2 | B2324-431-074
C-175756 | LK1-M23-BNM-1-L | 0.8 | -29.89 | 42.9 | 5.79 | 10.22 | 4.8952 |  | G3 | B2324-431-075
C-175757 | LK5-M23-YP-3-M | 0.8 | -26.03 | 29.4 | 6.79 | 9.06 | 3.7843 |  | G4 | B2324-431-076
C-175758 | LK5-M23-YP-3-L | 0.8 | -29.12 | 47.6 | 6.86 | 10.09 | 5.5015 |  | G5 | B2324-431-077
C-175759 | CR5-M23-NRB-9-M | 0.8 | -30.23 | 44.5 | 8.15 | 13.49 | 3.8469 |  | G6 | B2324-431-078
C-175760 | CR5-M23-CS-5-M | 0.8 | -29.77 | 45.6 | 6.2 | 13.7 | 3.8816 |  | G7 | B2324-431-079
C-175761 | CR5-M23-CS-5-L | 0.8 | -30.54 | 53.4 | 5.11 | 12.71 | 4.8996 |  | G8 | B2324-431-080
C-175762 | CR5-M23-NRB-3-M | 0.8 | -30.71 | 39.2 | 7.05 | 11.64 | 3.9273 |  | G9 | B2324-431-081
C-175763 | CR5-M23-CS-10-M | 0.8 | -28.16 | 47.3 | 5.81 | 14.3 | 3.8574 |  | G10 | B2324-431-082
C-175764 | CR5-M23-CS-10-L | 0.8 | -30.49 | 55 | 5.64 | 8.03 | 7.9875 |  | G11 | B2324-431-083
C-175765 | CR5-M23-CC-1-M | 0.8 | -27.4 | 42.2 | 6.54 | 12.84 | 3.8328 |  | G12 | B2324-431-084
C-175766 | CR5-M23-CC-1-L | 0.8 | -29.16 | 28.8 | 5.35 | 7.04 | 4.7707 |  | H1 | B2324-431-085
C-175767 | CR5-M23-CC-10-M | 0.8 | -26.78 | 46.3 | 7.16 | 14.26 | 3.7864 |  | H2 | B2324-431-086
C-175768 | CR5-M23-CC-10-L | 0.8 | -28.34 | 44.9 | 7.64 | 8.98 | 5.8309 |  | H3 | B2324-431-087
C-175769 | CR5-A23-CADD-4 | 1 | -33.56 | 45 | 4.17 | 10.1 | 5.1959 |  | H4 | B2324-431-088
C-175770 | LK-A23-MF-Pool | 1 | -28.03 | 42.9 | 1.86 | 10.89 | 4.594 |  | H5 | B2324-431-089
C-175771 | LK1-A23-MF-7 | 1 | -27.49 | 44.5 | 1.88 | 10.75 | 4.8274 |  | H6 | B2324-431-090
C-175772 | LK7-A23-MF-9 | 1 | -28 | 47.6 | 0.62 | 9.83 | 5.647 |  | H7 | B2324-431-091
C-175773 | LK7-A23-MF-10 | 1 | -27.2 | 44.5 | 0.39 | 11.06 | 4.6921 |  | H8 | B2324-431-092
C-175774 | LK9-A23-MF-2 | 1 | -27.52 | 54.5 | 0.34 | 11.34 | 5.6047 |  | H9 | B2324-431-093
C-175775 | LK1-A23-MF-4 | 1 | -28.64 | 48.4 | 1.19 | 9.21 | 6.1285 |  | H10 | B2324-431-094
C-175776 | CR5-M23-CADD-1 | 1 | -34.44 | 47.9 | 4.11 | 9.62 | 5.8067 |  | H11 | B2324-431-095
C-175777 | CR5-A23-CADD-2 | 1 | -32.64 | 50.2 | 3.77 | 10.51 | 5.5702 |  | H12 | B2324-431-096
| Blind std C-55: | d13Cvpdb | -28.6 | n = 3, std dev = 0.02 |  | Expected value to date = -28.5
|  | d15Nair | -4 | n = 3, std dev = 0.02 |  | Expected value to date = -3.9
| L-glutamic acid | %C | 39.95 | n = 2, std dev = 0.35 |  | Theoretical value = 40.78%
|  | %N | 9.51 | n = 2, std dev = 0.07 |  | Theoretical value = 9.52%
Laboratoire d'isotopes stables Ján Veizer (anciennement G.G. Hatch)
Ján Veizer Stable Isotope Laboratory (formerly G.G. Hatch)
Reminder: samples are retained for 6 months, then destroyed. Please have a look at your data in a timely manner.

## project results
OurLabID | Sample ID | Delta 13C (‰) | Mass Fraction C (%) | Delta 15N (‰) | Mass Fraction N (%) | Weight (mg) | %C for applicable media | %N for applicable media | %S for applicable media | pH or %H (specify below) | State or Province | Country Code | Latitude | Longitude | LatLong Accuracy | Collection Date/Time (Start) | Collection Date/Time (end) | Elevation | Meters or Feet | Salinity or %O (specify) | Comment
C-175682 | LK3-M23-YP-11-M | -30.05 | 43.9 | 6.75 | 13.53 | 0.8 | [14 empty] | A1
C-175683 | LK7-M23-BNM-3-M | -25.22 | 47.7 | 5.6 | 13.92 | 0.8 | [14 empty] | A2
C-175684 | LK7-M23-BNM-3-L | -25.81 | 42.5 | 5.27 | 9.32 | 0.8 | [14 empty] | A3
C-175685 | LK1-M23-GS-101-M | -29.01 | 58.9 | 6.8 | 18 | 0.8 | [14 empty] | A4
C-175686 | LK8-M23-CC-1-M | -26.85 | 42.3 | 4.85 | 12.54 | 0.8 | [14 empty] | A5
C-175687 | LK8-M23-CC-1-L | -27.15 | 42.1 | 4.71 | 9.62 | 0.8 | [14 empty] | A6
C-175688 | LK7-M23-BNM-4-M | -27.14 | 41.7 | 5.51 | 12.37 | 0.8 | [14 empty] | A7
C-175689 | LK7-M23-BNM-2-M | -27.37 | 40.3 | 6.22 | 12.2 | 0.8 | [14 empty] | A8
C-175690 | LK7-M23-GS-1-M | -30.16 | 43.2 | 5.73 | 13.49 | 0.8 | [14 empty] | A9
C-175691 | LK7-M23-GS-1-L | -31.58 | 42.7 | 5.39 | 10.05 | 0.8 | [14 empty] | A10
C-175692 | LK7-M23-YP-1-M | -28.98 | 64.8 | 6.2 | 20.2 | 0.8 | [14 empty] | A11
C-175693 | LK3-M23-GS-6-M | -28.89 | 46.1 | 6.31 | 14.34 | 0.8 | [14 empty] | A12
C-175694 | LK3-M23-GS-6-L | -29.29 | 34.4 | 5.1 | 8.25 | 0.8 | [14 empty] | B1
C-175695 | LK7-M23-YP-2-M | -26.94 | 37 | 6.2 | 11.42 | 0.8 | [14 empty] | B2
C-175696 | LK7-M23-YP-2-L | -28.66 | 44.6 | 6.31 | 10.74 | 0.8 | [14 empty] | B3
C-175697 | LK-M23-CC-100-M | -27.22 | 57.4 | 7.48 | 17.1 | 0.8 | [14 empty] | B4
C-175698 | LK-M23-CC-100-L | -29.77 | 50.6 | 6.74 | 8.42 | 0.8 | [14 empty] | B5
C-175699 | LK-M23-CS-101-M | -28.07 | 42.2 | 5.86 | 12.93 | 0.8 | [14 empty] | B6
C-175700 | LK-M23-CS-101-L | -30.56 | 40.9 | 4.85 | 6.01 | 0.8 | [14 empty] | B7
C-175701 | LK8-M23-BNM-11-M | -27.99 | 46.8 | 4.52 | 13.79 | 0.8 | [14 empty] | B8
C-175702 | LK8-M23-BNM-11-L | -27.03 | 46.4 | 4.58 | 10.05 | 0.8 | [14 empty] | B9
C-175703 | LK8-M23-BNM-10-M | -26.15 | 37.4 | 5.62 | 11.47 | 0.8 | [14 empty] | B10
C-175704 | LK-M23-CS-102-M | -26.91 | 41.7 | 5.52 | 12.71 | 0.8 | [14 empty] | B11
C-175705 | LK-M23-CS-102-L | -29.37 | 54.9 | 4.97 | 9.28 | 0.8 | [14 empty] | B12
C-175706 | LK3-M23-GS-5-M | -28.45 | 40 | 6.47 | 12.58 | 0.8 | [14 empty] | C1
C-175707 | LK3-M23-GS-5-L | -30.27 | 44.5 | 4.81 | 10.39 | 0.8 | [14 empty] | C2
C-175708 | LK-M23-GS-202-M | -29.56 | 45.3 | 5.12 | 13.79 | 0.8 | [14 empty] | C3
C-175709 | LK-M23-GS-202-L | -30.93 | 43 | 4.78 | 9.79 | 0.8 | [14 empty] | C4
C-175710 | FN-M23-GS-8-M | -29.89 | 49.6 | 6.16 | 15.1 | 0.8 | [14 empty] | C5
C-175711 | FN-M23-GS-8-L | -31.13 | 52.6 | 5.28 | 11.3 | 0.8 | [14 empty] | C6
C-175712 | FN-M23-GS-3-M | -28.75 | 44.5 | 6.36 | 13.53 | 0.8 | [14 empty] | C7
C-175713 | FN-M23-GS-3-L | -30.18 | 49.3 | 6 | 11.21 | 0.8 | [14 empty] | C8
C-175714 | FN-M23-GS-5-M | -29.85 | 48.5 | 7.44 | 14.86 | 0.8 | [14 empty] | C9
C-175715 | FN-M23-GS-6-M | -30.79 | 35.3 | 5.41 | 10.87 | 0.8 | [14 empty] | C10
C-175716 | FN-M23-GS-1-M | -31.49 | 50.1 | 7.6 | 15.6 | 0.8 | [14 empty] | C11
C-175717 | FN-M23-GS-1-L | -31.21 | 42.4 | 5.92 | 10.57 | 0.8 | [14 empty] | C12
C-175718 | LK10-M23-BNM-7-M | -28.41 | 49.4 | 5.79 | 15 | 0.8 | [14 empty] | D1
C-175719 | LK10-M23-BNM-7-L | -29.28 | 30.9 | 6.09 | 7.86 | 0.8 | [14 empty] | D2
C-175720 | FN-M23-GS-100-M | -31.93 | 46.5 | 5.36 | 14.47 | 0.8 | [14 empty] | D3
C-175721 | FN-M23-GS-100-L | -32.5 | 50.8 | 4.59 | 12.8 | 0.8 | [14 empty] | D4
C-175722 | FN-M23-GS-7-M | -31.1 | 56.2 | 7.61 | 17 | 0.8 | [14 empty] | D5
C-175723 | FN-M23-GS-7-L | -31.54 | 38 | 6.26 | 8.93 | 0.8 | [14 empty] | D6
C-175724 | LK3-M23-YP-10-M | -27.33 | 49.1 | 6.07 | 14.65 | 0.8 | [14 empty] | D7
C-175725 | LK3-M23-YP-10-L | -29.41 | 39.4 | 6.89 | 9.79 | 0.8 | [14 empty] | D8
C-175726 | FN-M23-GS-101-M | -29.54 | 44.1 | 6.33 | 13.74 | 0.8 | [14 empty] | D9
C-175727 | FN-M23-GS-101-L | -31 | 69.2 | 5.32 | 17.1 | 0.8 | [14 empty] | D10
C-175728 | FN-M23-GS-11-M | -29.11 | 23.8 | 5.79 | 7.09 | 0.8 | [14 empty] | D11
C-175729 | FN-M23-GS-11-L | -31.42 | 35.8 | 5.23 | 7.52 | 0.8 | [14 empty] | D12
C-175730 | FN-M23-CS-1-M | -30.12 | 48.3 | 4.52 | 14.34 | 0.8 | [14 empty] | E1
C-175731 | LK2-M23-CC-6-M | -28.86 | 38 | 6.21 | 11.68 | 0.8 | [14 empty] | E2
C-175732 | FN-M23-CC-1-M | -27.4 | 42.8 | 5.76 | 13.27 | 0.8 | [14 empty] | E3
C-175733 | FN-M23-CC-1-L | -28.52 | 54.1 | 4.84 | 11.3 | 0.8 | [14 empty] | E4
C-175734 | LK10-M23-YP-5-M | -27.28 | 44 | 5.47 | 13.83 | 0.8 | [14 empty] | E5
C-175735 | LK10-M23-YP-5-L | -29.27 | 32.6 | 5.5 | 8.12 | 0.8 | [14 empty] | E6
C-175736 | LK3-M23-YP-8-M | -26.88 | 45.3 | 5.65 | 14.3 | 0.8 | [14 empty] | E7
C-175737 | LK3-M23-YP-8-L | -27.9 | 60.2 | 6.49 | 15.1 | 0.8 | [14 empty] | E8
C-175738 | LK3-M23-GS-2-M | -28.89 | 49.4 | 6.05 | 15.2 | 0.8 | [14 empty] | E9
C-175739 | LK3-M23-GS-2-L | -29.89 | 36.2 | 5.41 | 7.6 | 0.8 | [14 empty] | E10
C-175740 | LK-M23-GS-201-M | -28.84 | 38.6 | 5.77 | 12.37 | 0.8 | [14 empty] | E11
C-175741 | LK-M23-GS-201-L | -30.55 | 42.5 | 4.65 | 10.65 | 0.8 | [14 empty] | E12
C-175742 | LK9-M23-CS-3-M | -30.6 | 38.2 | 5.04 | 11.34 | 0.8 | [14 empty] | F1
C-175743 | LK9-M23-CS-3-L | -32.11 | 48.5 | 4.4 | 6.31 | 0.8 | [14 empty] | F2
C-175744 | LK-M23-GS-200-M | -28.46 | 43.9 | 6.31 | 13.57 | 0.8 | [14 empty] | F3
C-175745 | LK-M23-GS-200-L | -29.78 | 38 | 4.91 | 8.5 | 0.8 | [14 empty] | F4
C-175746 | CR5-M23-CS-12-M | -34.03 | 53.2 | 5.52 | 15.2 | 0.8 | [14 empty] | F5
C-175747 | CR5-M23-CS-12-L | -34.49 | 55.4 | 4.97 | 9.36 | 0.8 | [14 empty] | F6
C-175748 | LK10-M23-YP-8-M | -26.59 | 28.5 | 5.31 | 8.8 | 0.8 | [14 empty] | F7
C-175749 | LK10-M23-YP-8-L | -28.45 | 39.9 | 6.22 | 9.19 | 0.8 | [14 empty] | F8
C-175750 | LK2-M23-CC-5-M | -27.09 | 44 | 6.23 | 13.4 | 0.8 | [14 empty] | F9
C-175751 | LK2-M23-CC-5-L | -29.01 | 35.6 | 5.4 | 7.43 | 0.8 | [14 empty] | F10
C-175752 | LK10-M23-YP-7-M | -27.17 | 42.5 | 5.54 | 13.01 | 0.8 | [14 empty] | F11
C-175753 | LK1-M23-CC-100-M | -28.49 | 40.7 | 5.85 | 12.03 | 0.8 | [14 empty] | F12
C-175754 | LK1-M23-CC-100-L | -30.65 | 50.5 | 5.31 | 8.59 | 0.8 | [14 empty] | G1
C-175755 | LK1-M23-BNM-1-M | -29.11 | 46.3 | 5.95 | 14.09 | 0.8 | [14 empty] | G2
C-175756 | LK1-M23-BNM-1-L | -29.89 | 42.9 | 5.79 | 10.22 | 0.8 | [14 empty] | G3
C-175757 | LK5-M23-YP-3-M | -26.03 | 29.4 | 6.79 | 9.06 | 0.8 | [14 empty] | G4
C-175758 | LK5-M23-YP-3-L | -29.12 | 47.6 | 6.86 | 10.09 | 0.8 | [14 empty] | G5
C-175759 | CR5-M23-NRB-9-M | -30.23 | 44.5 | 8.15 | 13.49 | 0.8 | [14 empty] | G6
C-175760 | CR5-M23-CS-5-M | -29.77 | 45.6 | 6.2 | 13.7 | 0.8 | [14 empty] | G7
C-175761 | CR5-M23-CS-5-L | -30.54 | 53.4 | 5.11 | 12.71 | 0.8 | [14 empty] | G8
C-175762 | CR5-M23-NRB-3-M | -30.71 | 39.2 | 7.05 | 11.64 | 0.8 | [14 empty] | G9
C-175763 | CR5-M23-CS-10-M | -28.16 | 47.3 | 5.81 | 14.3 | 0.8 | [14 empty] | G10
C-175764 | CR5-M23-CS-10-L | -30.49 | 55 | 5.64 | 8.03 | 0.8 | [14 empty] | G11
C-175765 | CR5-M23-CC-1-M | -27.4 | 42.2 | 6.54 | 12.84 | 0.8 | [14 empty] | G12
C-175766 | CR5-M23-CC-1-L | -29.16 | 28.8 | 5.35 | 7.04 | 0.8 | [14 empty] | H1
C-175767 | CR5-M23-CC-10-M | -26.78 | 46.3 | 7.16 | 14.26 | 0.8 | [14 empty] | H2
C-175768 | CR5-M23-CC-10-L | -28.34 | 44.9 | 7.64 | 8.98 | 0.8 | [14 empty] | H3
C-175769 | CR5-A23-CADD-4 | -33.56 | 45 | 4.17 | 10.1 | 1 | [14 empty] | H4
C-175770 | LK-A23-MF-Pool | -28.03 | 42.9 | 1.86 | 10.89 | 1 | [14 empty] | H5
C-175771 | LK1-A23-MF-7 | -27.49 | 44.5 | 1.88 | 10.75 | 1 | [14 empty] | H6
C-175772 | LK7-A23-MF-9 | -28 | 47.6 | 0.62 | 9.83 | 1 | [14 empty] | H7
C-175773 | LK7-A23-MF-10 | -27.2 | 44.5 | 0.39 | 11.06 | 1 | [14 empty] | H8
C-175774 | LK9-A23-MF-2 | -27.52 | 54.5 | 0.34 | 11.34 | 1 | [14 empty] | H9
C-175775 | LK1-A23-MF-4 | -28.64 | 48.4 | 1.19 | 9.21 | 1 | [14 empty] | H10
C-175776 | CR5-M23-CADD-1 | -34.44 | 47.9 | 4.11 | 9.62 | 1 | [14 empty] | H11
C-175777 | CR5-A23-CADD-2 | -32.64 | 50.2 | 3.77 | 10.51 | 1 | [14 empty] | H12

## Methodology
Methodology
Samples and standards were weighed into tin capsules and loaded into an elemental analyser interfaced to an isotope ratio mass spectrometer. Sample/Std is flash combusted at about 1800C (Dumas combustion) and the resulted gas products carried by helium through columns of oxidizing/reducing chemicals optimised for CO2 and N2. The gases are separated by a "purge and trap" adsorption column and sent to irms interface then to irms.
Stable Isotopes: accuracy and precision
Our internal standards are (d15N,d13C in ‰): C-51 Nicotiamide (0.07,-22.95), C-52 mix of ammonium sulphate + sucrose (16.58,-11.94), C-54 caffeine (-16.61,-34.46), blind std C-55: glutamic acid (-3.98, -28.53). They cover the natural range (and some…). The data is reported in Delta notation d, the units are per mil (‰) and defined as d = ((Rx-Rstd))/Rstd)*1000 where R is the ratio of the abundance of the heavy to the light isotope, x denotes sample and std is an abbreviation for standard. All d15N is reported as ‰ vs. AIR and normalized to internal standards calibrated to International standards IAEA-N1(+0.4‰), IAEA-N2(+20.3‰), USGS-40(-4.52‰) and USGS-41(47.57‰). All d13C is reported as ‰ vs. V-PDB and normalized to internal standards calibrated to International standards IAEA-CH-6(-10.4‰), NBS-22(-29.91‰), USGS-40(-26.24‰) and USGS-41(37.76‰). Please note that the PDB and V-PDB scales are identical and interchangeable. These analyses were performed here at the JVSIL. Our analytical precision is based on our internal std (C-55) which is not used for calibration and is usally better than 0.2 ‰ and is found at the end of the data columns in the 'Final Report' tab.
Elemental analysis and Atomic C:N
Percent % data was determined using IRMS area of mass 44 for C and 28 for N. Calibration used C-51 Nicotiamide with 59.01% of C and 22.94% of N and C-54 caffeine.
with 49.48% of C and 28.85% of N. Percent is express as weight percent. Dilution of C is already corrected.
Atomic C:N = (%of C/% of N) x (atomic weight of N/atomic weight of C) Atomic weight: C = 12.011 and N=14.007
Note the sequence is designed to provide the best isotope data possible and percent data is given as a bonus. For optimal percent data, please request a percent
elemental analyser sequence (Media code 56-57-58-59 or 92, see media code tab in the submission sheet)
Instrumentation
Elemental analyser: Vario EL Cube manufactured by Elementar, Germany
Interface: Conflo IV manufactured by Thermo, Germany
Isotope Ratio Mass Spectrometer (irms): Delta Advantage manufactured by Thermo, Germany
Filters
Organic material samples on glass fibre filters (or quartz fibre) are prepared in one of the following ways after %ncs determination:
1) If the whole filter is needed, it is carefully cut up into small pieces in order to be ground up in a mortar and pestle. The ground material is pressed into a tin
capsule along with a small scoop of tungstic oxide catalyst (WO3). Both materials are mixed in the capsule before sealing.
2) If only a portion of the filter is needed, 1 or more punches are pressed into a tin capsule with a small scoop of WO3.
NB: the diameter of a single punch is 6.2mm .
Blind standard
C-55 is a L-glutamic acid, this is our blind standard for both isotopes and percent. Obviously analysed as a sample, therefore not included in the various calibrations curves.
Basic statistics are reported.
Please note this sequence is optimised for isotopes, not for percent, see Elemental analysis box for more information

## Copy of Submission Form
Send Excel file to: JanVeizerLab@uottawa.ca
Customer Information |  |  | Invoice Information | [5 empty] | LIMS for Light Stable Isotopes
First Name: | Charlotte |  | PO # or Account Code: | 103-2022-10-28 |  |  |  |  | Version 9.201 Sept. 21, 2016
Last Name: | Ward |  | First Name: | Tyler |  |  |  |  | T. B. Coplen
Middle Initial: | A |  | Last Name: | Tunney |  |  |  |  | U.S. Geological Survey
Institution (Line 1): | University of Guelph |  | Middle Initial: | D |  |  |  |  | 431 National Center
Address (Line 2): | 50 Stone Road E |  | Institution (Line 1): | Fisheries and Oceans Canada |  | Ship samples to: |  |  | Reston, VA 20192
Address (Line 3): |  |  | Address (Line 2): | Gulf Fisheries Centre |  | Ján Veizer Stable Isotope Laboratory |  |  | Email: tbcoplen@usgs.gov
City: | Guelph |  | Address (Line 3): | 343 Avenue de l'Université, PO Box 5030 |  | Attn: P. Middlestead
State or Province: | Ontario |  | City: | Moncton |  | 25 Templeton Street |  |  | Instructions:
Postal Code: | N1G 1W2 |  | State or Province: | New Brunswick |  | Advanced Research Complex |  |  | Information in GREEN is required (mandatory).
Country: | Canada |  | Postal Code: | E1C 9B6 |  | University of Ottawa |  |  | Caution: "Sample ID" must be unique; id duplicates.
Email: | cward@uoguelph.ca |  | Country: | Canada |  | Ottawa, Ontario, Canada K1N 6N5 |  |  | Information in YELLOW is required, if appropriate .
Phone Number: | 705-279-9273 |  | Email: | Tyler.Tunney@dfo-mpo.gc.ca |  | Phone: 613-562-5800 x6836
Submission Date: | 2023-11-14 |  | Phone Number:
Project Title: | om-cn-4 - Algonquin Cyprinid Study
Isotope Ratios Req: | 13C and 15N |  | Optional Project | All samples were weighed according to estimated %N content in each tissue type based on previous studies on similar organisms
Numeric Media Code: | 23 |  | Comment:
Supervisor: | Dr. Tyler Tunney
-- Type "X" to answer one of the statements (mandatory):
x | I have read and understand the terms and conditions listed in the 1st tab below and wish to submit Samples for analysis.
I do NOT accept the terms of this agreement.
You MUST indicate any halogens, preservatives, or other nasties, especially if there is a health hazard wrt your sample material.
Sample Information
Counter | Sample ID | Weight (mg) | %C for applicable media | %N for applicable media | %S for applicable media | pH or %H (specify below) | Salinity or %O (specify) | Comment | VeizerSIL Number
Example 1 | GNIP 43329 | 0.123 | 40 | 10 | 0.01 |  | Salinity in PSU | My other info | (Lab use only)
1 | LK3-M23-YP-11-M | 0.8 | [5 empty] | A1 | B2324-431-001
2 | LK7-M23-BNM-3-M | 0.8 | [5 empty] | A2 | B2324-431-002
3 | LK7-M23-BNM-3-L | 0.8 | [5 empty] | A3 | B2324-431-003
4 | LK1-M23-GS-101-M | 0.8 | [5 empty] | A4 | B2324-431-004
5 | LK8-M23-CC-1-M | 0.8 | [5 empty] | A5 | B2324-431-005
6 | LK8-M23-CC-1-L | 0.8 | [5 empty] | A6 | B2324-431-006
7 | LK7-M23-BNM-4-M | 0.8 | [5 empty] | A7 | B2324-431-007
8 | LK7-M23-BNM-2-M | 0.8 | [5 empty] | A8 | B2324-431-008
9 | LK7-M23-GS-1-M | 0.8 | [5 empty] | A9 | B2324-431-009
10 | LK7-M23-GS-1-L | 0.8 | [5 empty] | A10 | B2324-431-010
11 | LK7-M23-YP-1-M | 0.8 | [5 empty] | A11 | B2324-431-011
12 | LK3-M23-GS-6-M | 0.8 | [5 empty] | A12 | B2324-431-012
13 | LK3-M23-GS-6-L | 0.8 | [5 empty] | B1 | B2324-431-013
14 | LK7-M23-YP-2-M | 0.8 | [5 empty] | B2 | B2324-431-014
15 | LK7-M23-YP-2-L | 0.8 | [5 empty] | B3 | B2324-431-015
16 | LK-M23-CC-100-M | 0.8 | [5 empty] | B4 | B2324-431-016
17 | LK-M23-CC-100-L | 0.8 | [5 empty] | B5 | B2324-431-017
18 | LK-M23-CS-101-M | 0.8 | [5 empty] | B6 | B2324-431-018
19 | LK-M23-CS-101-L | 0.8 | [5 empty] | B7 | B2324-431-019
20 | LK8-M23-BNM-11-M | 0.8 | [5 empty] | B8 | B2324-431-020
21 | LK8-M23-BNM-11-L | 0.8 | [5 empty] | B9 | B2324-431-021
22 | LK8-M23-BNM-10-M | 0.8 | [5 empty] | B10 | B2324-431-022
23 | LK-M23-CS-102-M | 0.8 | [5 empty] | B11 | B2324-431-023
24 | LK-M23-CS-102-L | 0.8 | [5 empty] | B12 | B2324-431-024
25 | LK3-M23-GS-5-M | 0.8 | [5 empty] | C1 | B2324-431-025
26 | LK3-M23-GS-5-L | 0.8 | [5 empty] | C2 | B2324-431-026
27 | LK-M23-GS-202-M | 0.8 | [5 empty] | C3 | B2324-431-027
28 | LK-M23-GS-202-L | 0.8 | [5 empty] | C4 | B2324-431-028
29 | FN-M23-GS-8-M | 0.8 | [5 empty] | C5 | B2324-431-029
30 | FN-M23-GS-8-L | 0.8 | [5 empty] | C6 | B2324-431-030
31 | FN-M23-GS-3-M | 0.8 | [5 empty] | C7 | B2324-431-031
32 | FN-M23-GS-3-L | 0.8 | [5 empty] | C8 | B2324-431-032
33 | FN-M23-GS-5-M | 0.8 | [5 empty] | C9 | B2324-431-033
34 | FN-M23-GS-6-M | 0.8 | [5 empty] | C10 | B2324-431-034
35 | FN-M23-GS-1-M | 0.8 | [5 empty] | C11 | B2324-431-035
36 | FN-M23-GS-1-L | 0.8 | [5 empty] | C12 | B2324-431-036
37 | LK10-M23-BNM-7-M | 0.8 | [5 empty] | D1 | B2324-431-037
38 | LK10-M23-BNM-7-L | 0.8 | [5 empty] | D2 | B2324-431-038
39 | FN-M23-GS-100-M | 0.8 | [5 empty] | D3 | B2324-431-039
40 | FN-M23-GS-100-L | 0.8 | [5 empty] | D4 | B2324-431-040
41 | FN-M23-GS-7-M | 0.8 | [5 empty] | D5 | B2324-431-041
42 | FN-M23-GS-7-L | 0.8 | [5 empty] | D6 | B2324-431-042
43 | LK3-M23-YP-10-M | 0.8 | [5 empty] | D7 | B2324-431-043
44 | LK3-M23-YP-10-L | 0.8 | [5 empty] | D8 | B2324-431-044
45 | FN-M23-GS-101-M | 0.8 | [5 empty] | D9 | B2324-431-045
46 | FN-M23-GS-101-L | 0.8 | [5 empty] | D10 | B2324-431-046
47 | FN-M23-GS-11-M | 0.8 | [5 empty] | D11 | B2324-431-047
48 | FN-M23-GS-11-L | 0.8 | [5 empty] | D12 | B2324-431-048
49 | FN-M23-CS-1-M | 0.8 | [5 empty] | E1 | B2324-431-049
50 | LK2-M23-CC-6-M | 0.8 | [5 empty] | E2 | B2324-431-050
51 | FN-M23-CC-1-M | 0.8 | [5 empty] | E3 | B2324-431-051
52 | FN-M23-CC-1-L | 0.8 | [5 empty] | E4 | B2324-431-052
53 | LK10-M23-YP-5-M | 0.8 | [5 empty] | E5 | B2324-431-053
54 | LK10-M23-YP-5-L | 0.8 | [5 empty] | E6 | B2324-431-054
55 | LK3-M23-YP-8-M | 0.8 | [5 empty] | E7 | B2324-431-055
56 | LK3-M23-YP-8-L | 0.8 | [5 empty] | E8 | B2324-431-056
57 | LK3-M23-GS-2-M | 0.8 | [5 empty] | E9 | B2324-431-057
58 | LK3-M23-GS-2-L | 0.8 | [5 empty] | E10 | B2324-431-058
59 | LK-M23-GS-201-M | 0.8 | [5 empty] | E11 | B2324-431-059
60 | LK-M23-GS-201-L | 0.8 | [5 empty] | E12 | B2324-431-060
61 | LK9-M23-CS-3-M | 0.8 | [5 empty] | F1 | B2324-431-061
62 | LK9-M23-CS-3-L | 0.8 | [5 empty] | F2 | B2324-431-062
63 | LK-M23-GS-200-M | 0.8 | [5 empty] | F3 | B2324-431-063
64 | LK-M23-GS-200-L | 0.8 | [5 empty] | F4 | B2324-431-064
65 | CR5-M23-CS-12-M | 0.8 | [5 empty] | F5 | B2324-431-065
66 | CR5-M23-CS-12-L | 0.8 | [5 empty] | F6 | B2324-431-066
67 | LK10-M23-YP-8-M | 0.8 | [5 empty] | F7 | B2324-431-067
68 | LK10-M23-YP-8-L | 0.8 | [5 empty] | F8 | B2324-431-068
69 | LK2-M23-CC-5-M | 0.8 | [5 empty] | F9 | B2324-431-069
70 | LK2-M23-CC-5-L | 0.8 | [5 empty] | F10 | B2324-431-070
71 | LK10-M23-YP-7-M | 0.8 | [5 empty] | F11 | B2324-431-071
72 | LK1-M23-CC-100-M | 0.8 | [5 empty] | F12 | B2324-431-072
73 | LK1-M23-CC-100-L | 0.8 | [5 empty] | G1 | B2324-431-073
74 | LK1-M23-BNM-1-M | 0.8 | [5 empty] | G2 | B2324-431-074
75 | LK1-M23-BNM-1-L | 0.8 | [5 empty] | G3 | B2324-431-075
76 | LK5-M23-YP-3-M | 0.8 | [5 empty] | G4 | B2324-431-076
77 | LK5-M23-YP-3-L | 0.8 | [5 empty] | G5 | B2324-431-077
78 | CR5-M23-NRB-9-M | 0.8 | [5 empty] | G6 | B2324-431-078
79 | CR5-M23-CS-5-M | 0.8 | [5 empty] | G7 | B2324-431-079
80 | CR5-M23-CS-5-L | 0.8 | [5 empty] | G8 | B2324-431-080
81 | CR5-M23-NRB-3-M | 0.8 | [5 empty] | G9 | B2324-431-081
82 | CR5-M23-CS-10-M | 0.8 | [5 empty] | G10 | B2324-431-082
83 | CR5-M23-CS-10-L | 0.8 | [5 empty] | G11 | B2324-431-083
84 | CR5-M23-CC-1-M | 0.8 | [5 empty] | G12 | B2324-431-084
85 | CR5-M23-CC-1-L | 0.8 | [5 empty] | H1 | B2324-431-085
86 | CR5-M23-CC-10-M | 0.8 | [5 empty] | H2 | B2324-431-086
87 | CR5-M23-CC-10-L | 0.8 | [5 empty] | H3 | B2324-431-087
88 | CR5-A23-CADD-4 | 1 | [5 empty] | H4 | B2324-431-088
89 | LK-A23-MF-Pool | 1 | [5 empty] | H5 | B2324-431-089
90 | LK1-A23-MF-7 | 1 | [5 empty] | H6 | B2324-431-090
91 | LK7-A23-MF-9 | 1 | [5 empty] | H7 | B2324-431-091
92 | LK7-A23-MF-10 | 1 | [5 empty] | H8 | B2324-431-092
93 | LK9-A23-MF-2 | 1 | [5 empty] | H9 | B2324-431-093
94 | LK1-A23-MF-4 | 1 | [5 empty] | H10 | B2324-431-094
95 | CR5-M23-CADD-1 | 1 | [5 empty] | H11 | B2324-431-095
96 | CR5-A23-CADD-2 | 1 | [5 empty] | H12 | B2324-431-096
133
134
135
136
137
138
139
140
141
142
143
144
145
146
147
148
149
150
Continue numbering in column A if there
are more than 150 samples.
Each sample must have a number.
Laboratoire d'isotopes stables G.G. Hatch
G.G. Hatch Stable Isotope Laboratory
Laboratoire d'isotopes stables G.G. Hatch
G.G. Hatch Stable Isotope Laboratory
Laboratoire d'isotopes stables G.G. Hatch
G.G. Hatch Stable Isotope Laboratory
Laboratoire d'isotopes stables Ján Veizer (anciennement G.G. Hatch)
Ján Veizer Stable Isotope Laboratory (formerly G.G. Hatch)
Laboratoire d'isotopes stables Ján Veizer (anciennement G.G. Hatch)
Ján Veizer Stable Isotope Laboratory (formerly G.G. Hatch)
Note on E3: uOttawa Employee: If paying by VISA, just write "VISA" in this box. Patricia will contact you about payment.
Note on B18: uOttawa Employee: See tab at bottom of file. Only 1 media code per submission file.